## Sheet1
Material | Chamber Use Description | Cost | Link | ALL PRICES BASED ON US$ IN 2022
2 pcs of 66 quart / 62 L Sterilite ClearView plastic home storage boxes | Outer chamber | 20 | https://www.walmart.com/ip/Sterilite-66-Qt-Latch-Box-Plastic-Stadium-Blue-Set-of-6/711933680
Aluminum Extrusions 40mm |  | 200 | Estimated.
M5 x8 Screws and Nuts |  | 50 | Estimated.
DL0097 Advanced Illumination Lamp with ICS IC Inline Controller |  | 500 | Internal quote
ThorLabs DCC1645C, Obsolete: replaced by ThorLabs CS165CU | Camera imager | 448.05 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CS165CU
ThorLabs MVL6WA | Camera lens | 166.38 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MVL6WA
Xrite ColorChecker Passport, Discontinued; replaced by SCK200 SpyderCHCKR 24 | Camera color calibration | 49 | https://www.amazon.com/dp/B00LPS46TW/ref=sspa_dk_detail_3?psc=1&pd_rd_i=B00LPS46TW&pd_rd_w=3y17W&content-id=amzn1.sym.3481f441-61ac-4028-9c1a-7f9ce8ec50c5&pf_rd_p=3481f441-61ac-4028-9c1a-7f9ce8ec50c5&pf_rd_r=6RTWWYAMMN280E4JH208&pd_rd_wg=T9Fwv&pd_rd_r=5ffb759f-d695-47e3-a5fe-84eeff242125&s=photo&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWM&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUE0UDc4WTdJRUlWUkYmZW5jcnlwdGVkSWQ9QTA2NTUwMzJXN001RzdZQlZLTksmZW5jcnlwdGVkQWRJZD1BMDA4Mjk5MDJVNFFLREIyWlYwTTcmd2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWMmYWN0aW9uPWNsaWNrUmVkaXJlY3QmZG9Ob3RMb2dDbGljaz10cnVl
Heat Shrink |  | 13.99 | https://www.amazon.com/Wirefy-180-Heat-Shrink-Tubing/dp/B084GDLSCK/ref=sr_1_1_sspa?keywords=heat+shrink+tubing&qid=1659285461&s=industrial&sprefix=heat+shrink%2Cindustrial%2C438&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExR1NQUVhCV1NIMVVWJmVuY3J5cHRlZElkPUEwMDkxOTg4MUQ4S1hNQ1NVQzFMWCZlbmNyeXB0ZWRBZElkPUEwODM0NDAxRTE0UVYyNjIyU1kzJndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
Electrical connector variety kit |  | 9.99 | https://www.amazon.com/dp/B09YTV31W4/ref=sspa_dk_detail_1?pd_rd_i=B09YTV31W4&pd_rd_w=t1AQu&content-id=amzn1.sym.999c0877-3704-4f0f-9726-eebf80846a35&pf_rd_p=999c0877-3704-4f0f-9726-eebf80846a35&pf_rd_r=82FCPFTBP0S0DNCH8KZA&pd_rd_wg=1zh61&pd_rd_r=96c3c487-c7d8-488e-9c2e-e46eebaaabdd&s=industrial&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWw&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExRDY4WU5EQ1hHQjlEJmVuY3J5cHRlZElkPUEwMjE2MDk2Mk5PTDU2TDJRRjNBQyZlbmNyeXB0ZWRBZElkPUEwMjUyMDUwWDA3S0FST1RENlg4JndpZGdldE5hbWU9c3BfZGV0YWlsJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ&th=1
Breadboard and jumper wires |  | 10.99 | https://www.amazon.com/Standard-Jumper-Solderless-Prototype-Breadboard/dp/B07H7V1X7Y/ref=sr_1_19?crid=1PVVRZJI5VH43&keywords=breadboard&qid=1659285491&s=industrial&sprefix=breadb%2Cindustrial%2C269&sr=1-19
SOLO AutomationDirect temperature controller | Water temperature feedback controller | 45 | https://www.automationdirect.com/adc/shopping/catalog/process_control_-a-_measurement/temperature_-z-_process_controllers/basic_temperature_controllers/slb4848-r0
Type K thermocouple | Water temperature measurement | 38.96 | https://www.digikey.com/en/products/detail/klein-tools-inc/69142/8543402?s=N4IgjCBcoLQBxVAYygMwIYBsDOBTANCAPZQDa4A7ACwBMIAugL6OF2TkBsAnGLQ40A
3 pcs of desktop computer fans | Water vapor transport | 30.87 | https://www.digikey.com/en/products/detail/cui-devices/CFM-4010-13-10/6194919
Power supply 24V | Power supply | 20.63 | https://www.digikey.com/en/products/detail/hammond-manufacturing/BPD2G/454375
Arduino Uno Rev3 | Microcontroller | 26.35 | https://www.amazon.com/Arduino-A000066-ARDUINO-UNO-R3/dp/B008GRTSV6/ref=sxts_b2b_sx_reorder_v3_customer?content-id=amzn1.sym.3a71a638-3150-4758-b829-d3b11c8f7df4%3Aamzn1.sym.3a71a638-3150-4758-b829-d3b11c8f7df4&crid=3P8SHLRQHNVC6&cv_ct_cx=arduino+uno+rev3&keywords=arduino+uno+rev3&pd_rd_i=B008GRTSV6&pd_rd_r=052d930d-cc21-4e24-bb26-aa2dd594641c&pd_rd_w=HKwDS&pd_rd_wg=dwgNE&pf_rd_p=3a71a638-3150-4758-b829-d3b11c8f7df4&pf_rd_r=8QDBSS3767Q094TGQ1N4&qid=1660317197&sprefix=arduino+uno+rev3%2Caps%2C71&sr=1-1-722db4e4-77fc-4fb6-8cee-654ad16ce1d5
Adafruit Si7021 | Temperature and humidity sensor | 9.95 | https://www.digikey.com/en/products/detail/adafruit-industries-llc/3251/6227008?s=N4IgTCBcDaIIIBMCGAzATgVwJYBcAEAylgOwAMYAjCALoC%2BQA
Graphite block 6"x6", 1" Thick | Sample holder | 94.37 | https://www.mcmaster.com/9121K66/
| TOTAL | 1734.53